## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
39 Loefield
Great Lumley
Chester-Le-Street
DH3 4HR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7873
DATE OF REPORT: 20/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7873
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 39 Loefield
Great Lumley
Chester-Le-Street
DH3 4HR
Carried Out On | 17/05/2021, 20/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Replacement boiler required

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7873
SECTION 3: Report
Onsite 1000 isolate and flush heating system strip out old baxi combi boiler and fit new baxi combi boiler, alter all pipework and fit new filter, controls and commission and test all ok Offsite 1530 complete Site only needs an electrical certificate there is no wiring to do as a new rf stat has been installed and tested all ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7873
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7873
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7873
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7873
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7873
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes