## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communcal Area, Tudor Court
Middlesbrough
North Yorkshire
TS3 9PZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7875
DATE OF REPORT: 30/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7875
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communcal Area, Tudor Court
Middlesbrough
North Yorkshire
TS3 9PZ
Carried Out On | 30/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
The communal water heater not working in the communal kitchen. Now the communal kitchen is open to the residents they need the heater to make their hot drinks.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7875
SECTION 3: Report
Attend site 1500 for no hot water Gain access find the water heater is a tea boiler that has been condemned by others for a resistance fault and its been isolated This needs to be replaced its a instanta 15 ltr so will quote to replace with a similar model Offsite 1600 new boiler needed

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7875
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7875
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7875
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7875
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7875
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes