## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Abbott House
1 Quarry Bank Court
Elswick
NE4 6NG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7878
DATE OF REPORT: 17/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7878
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 14 Abbott House
1 Quarry Bank Court
Elswick
NE4 6NG
Carried Out On | 17/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Heater in one room not working please can you call him to arrange appointmen - --- ---- Commercial Boiler----

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7878
SECTION 3: Report
Attend site 1300 having picked up worcester botch parts as per instructions from office had to wait 30 mins until I could get a covid test then once I g Had the test had to wait 40 minutes for the results, once my negative result came back I gained access to flat 7 , the boiler is a potterton 28he so I had to return the worcester parts and pick up potterton. Return to site isolatecand drain down the heating boiler and strip out the old expansion vessel and prv fit new parts and fill and vent system test operation of boiler all ok set pressure to 1.2 bar cold heating all working ok . Parts used 1 no potterton 8ltr expansion vessel 1 no potterton prv Offsite 1630 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7878
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7878
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7878
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7878
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7878
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes