## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Feetham Court
Forest Hall
Newcastle
NE12 9QL
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-7888
DATE OF REPORT: 24/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7888
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 12 Feetham Court
Forest Hall
Newcastle
NE12 9QL
Carried Out On | 21/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
***Please remove water meter in cupboard*** Replace ceiling tile in cupbaord of void

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7888
SECTION 3: Report
Attend site 0830 to isolate and strip out a leaking heating water meter. Gain access to flat and isolate and drain down heating in flat, once drained strip out leaking water meter and replace with 15mm copper. Once pipework replaced fill system and vent all radiators, check operation of room stat and 2 port valve which were found to be fully operational Offsite 1030 complete Parts used 1 no 15mm press fit slip 1 no 15mm pressfit straight connector 1 no 15mm copper All from van stock total cost £15

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7888
SECTION 4: Photos
Room / Area
Description
Notes
Leaking water meter to be stripped out
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7888
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7888
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7888
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7888
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes