## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rooms with House, Gifford House
11 Denmark Street
Bensham
NE8 1NQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7889
DATE OF REPORT: 19/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7889
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Rooms with House, Gifford House
11 Denmark Street
Bensham
NE8 1NQ
Carried Out On | 18/05/2021, 19/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Job Description - Survey site for new heat source.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7889
SECTION 3: Report
Onsite 0800 install new heating boiler offsite 1630 fow Onsite 1000 finish off installing new wall hung heating boiler , flue. Flues need boxing in and controls need installed boiler and pump wired up to flying leads. All 2 ports manually opened so both zones are on and hot water all on boiler temp set for 65° so hot water doesn't get to hot Offsite 1800 my parts are complete but building works need finished and controls need wiring

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7889
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes