## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
Rooms Within House
Abbott House: 1 Quarry Bank Court
NE4 6NG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-7893
DATE OF REPORT: 18/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7893
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
Rooms Within House
Abbott House: 1 Quarry Bank Court
NE4 6NG
Carried Out On | 18/05/2021
Survey Completed By | Anthony Myers
SECTION 2: Introduction
Boiler leaking badly

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7893
SECTION 3: Report
Arrive on site, find leak from bottom immersion temperature pocket. Requires visit from Heatrea under warranty. Manager was also concerned about lagging wet on cold mains. Upon further investigation find lagging used is too big and pipework “sweating”.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7893
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7893
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7893
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7893
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7893
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes