## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 St. Marys Court
Horden
Peterlee
Sr8 4dq
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-7905
DATE OF REPORT: 07/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7905
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 26 St. Marys Court
Horden
Peterlee
Sr8 4dq
Carried Out On | 18/05/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
Co alarm

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7905
SECTION 3: Report
Attended site to reports of a co alarm sounding Eico Hard wired co alarm was in fault according of to the tenant and it had not activated. A battery powered co alarm was installed as a precaution. An electrician to attend to replace the mains wired co alarm and check for correct operation.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7905
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes