## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Emmaus Youth Village
Pemberton Road
Allensford
DH8 9BA
DH8 9BA
CARRIED OUT ON BEHALF OF
Emmaus Youth Village
REPORT NUMBER: 21-7939
DATE OF REPORT: 20/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-7939
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Emmaus Youth Village
Address | Emmaus Youth Village
Pemberton Road
Allensford
Consett
Co Durham
DH8 9BA
Site Address | Emmaus Youth Village
Pemberton Road
Allensford
DH8 9BA
Carried Out On | 20/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No hot water - heating still on

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-7939
SECTION 3: Report
Attend site 1615 for no hot water find no 2 boiler off re-set and test find all ok, alter stats to 70° and wait until water starts to come out of taps Fault was an anti cycling fault pump stuck. Boilers ar lpg I've not touched anything that could affect combustion. Offsite 1715 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-7939
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7939
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7939
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7939
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-7939
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes