## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Derwentdale Court
Blackhill
Consett
DH8 8PY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8006
DATE OF REPORT: 04/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8006
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 12 Derwentdale Court
Blackhill
Consett
DH8 8PY
Carried Out On | 24/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Isolate water to flat for contractor Monday 24/5/21 email recieved - ---- Dean Hutchinson has rang (contractor for wet rooms) as he is starting work on Monday at the above. He advised he needs a commercial plumber (normally Dave Ashton) to attend the property before 12. Could this be arranged. His number is 07517002541 if you need to speak to him. ---- Auth

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8006
SECTION 3: Report
Attend site to isolate pipework hot ,cold and heating so new bathroom can be installed Had to turn off mains cold to building to dit new cold stop cock as old one was seized, heating had to be drained as no isolation on pipework to allow pipework to be altered and radiator moved. Once all isolated the heating reinstated and waited until all up to temp all ok. Contractor supplied all valves Offsite 1100 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8006
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8006
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8006
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8006
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8006
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes