## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
27 Eldon Court
Clavering Street
Wallsend
NE28 6SF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-8008
DATE OF REPORT: 24/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8008
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 27 Eldon Court
Clavering Street
Wallsend
NE28 6SF
Carried Out On | 21/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
3 X flow cartridges & 1 room stat to replace. Response date 21/05/2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8008
SECTION 3: Report
Attend site 1030 to change underfloor heating cartridges and living room room stat. Gain access to site and isolate electrical supply to underfloor heating and change out living room room stat, isolate and drain down under floor heating and strip out the 4 x under floor heating cartridges (found all 4 leaking), replace with new cartridges and fill and vent . Refit actuators and test operation of all components find all ok Parts used 1 no room stat Richard Patterson supplied 4 no giacomini underfloor heating cartridges Offsite 1230 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8008
SECTION 4: Photos
Room / Area
Description
Notes
Newcroom stat supplied by Richerd Patterson
Room / Area
Description
Notes
4 no giacomini heating cartridges replaced due to leaking stem seals
Room / Area
Description
Notes
All cartridges replaced actuators fitted and all components tested all ok
ZENITH MECHANICAL SERVICES
Report Number | 21-8008
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8008
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8008
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8008
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes