## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Fifth Avenue
Chester-Le-Street
County Durham
DH2 2ED
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8011
DATE OF REPORT: 21/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8011
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Fifth Avenue
Chester-Le-Street
County Durham
DH2 2ED
Carried Out On | 21/05/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Domestic Gas Boiler Service x1 Gas Cooker Visual x1 Heat Detector x1 Smoke Alarm Service x1 Smoke Alarm Service x1

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8011
SECTION 3: Report
1025 Attended site and carried out domestic gas saftey inspection , on 1x Baxi due tec 28 HE A . Tested for safe operation as per manufacturers instructions . Carried out visual inspection on Tennents own cooker , found to be ok, no saftey chain or bracket present .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes