## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 Medway Gardens
Stanley
County Durham
DH9 7PP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8019
DATE OF REPORT: 24/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8019
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 16 Medway Gardens
Stanley
County Durham
DH9 7PP
Carried Out On | 24/05/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Renew combi boiler Uneconomical repait. Working but constantly looses pressure from damaged heat exchanger ---- ---- Vaillant eco tec pro 28 combi ---- Horizontal flue ---- Vaillant stand off bracket ---- Sentinel x100 inhibitor ---- Neomitis rt7rf room thermostat ---- Magnaclean micro ----

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8019
SECTION 3: Report
Boiler in currently is a valiant eco tec 28 Boiler is dropping pressure every couple of days Horizontal flue kit required Stand off kit required Primary filter and scale reducer required Condensate will need re drilled

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes