## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Towneley Court
Communal Area
Stanley
DH9 7NL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8020
DATE OF REPORT: 25/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8020
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Towneley Court
Communal Area
Stanley
DH9 7NL
Carried Out On | 25/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Inspect cold water storage tanks as one tank looks to be not working. please arrange time with james park

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8020
SECTION 3: Report
Attend site with Jim park to inspect cold water storage tanks 1100 Gain access to tanks check operation all ok problems are with no head pressure Jim has said that grey are going to replace all the plant. Offsite 1200

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8020
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes