## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
Derwentdale Court
Blackhill
DH8 8PY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8053
DATE OF REPORT: 25/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8053
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
Derwentdale Court
Blackhill
DH8 8PY
Carried Out On | 25/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Carry out works as per Zurich request from their previous visit install the additional components to protect the expansion vessel assess the boiler which is currently at risk to see the extent of previous damage caused by condensate before a new boiler is installed

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8053
SECTION 3: Report
Attend site 1200 to install prv on to dhw caloifer Pick up parts and attend site had to Draindown dhw calorfier as its prv is to be fitted after the isolation valve. Once drained alter pipework so a 22mm prv could be installed with a new isolation valve so that the prv can be inspected annually with out having to drain down whole site , once fitted fill system a d vent all. Parts used 1 no prv set at 6 bat 1 no 28mm pressfit t 1 no 22mm pressfit elbow 1 no 22mm copper van stock £22.50 Offsite 1530 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8053
SECTION 4: Photos
Room / Area
Description
Notes
Newly installed prv set at 6bar
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8053
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8053
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8053
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8053
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes