## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 Pintail Court
South Shields
Tyne and Wear
NE34 9SF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8066
DATE OF REPORT: 05/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8066
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 16 Pintail Court
South Shields
Tyne and Wear
NE34 9SF
Carried Out On | 14/06/2021,, 28/06/2021 , 05/07/2021
Survey Completed By | Adam McCallum
SECTION 2: Introduction
Please can you replace boiler ---- repair faccia casing etc also needed would be a new tall kitchen unit with tall openable door for access 15 mm shock arrestor for cold water pipe after the stopcock The new boiler needs a vertical flue neomitis RF room stat adey micro filter professional 2 The boiler is working at the minute but needs upgraded no work needs to be done to radiators

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8066
SECTION 3: Report
Ideal logic combi c30 Vertical flue terminal Pitched roof slate 3 flue extensions Ideal 90 degree bend x 2 Ceiling plate Magnaclean pro2 chemical pack Ideal Stand off kit 15mm limefighter Condensate existing to kitchen sink No roofer required Rebuilt cupboard that house's boiler for tenant.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8066
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes