## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Alpine Court
Chester-Le-Street
County Durham
DH2 2UE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8074
DATE OF REPORT: 27/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8074
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 12 Alpine Court
Chester-Le-Street
County Durham
DH2 2UE
Carried Out On | 27/05/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Domestic Gas Boiler Service x1 Gas Cooker Visual x1 Smoke Alarm Service x1

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8074
SECTION 3: Report
Hi all had to cap off cooker in this property due to signs of spillage and the seals on the oven door failed. I've provided photos

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8074
SECTION 4: Photos
Room / Area
Description
Notes
Labeled as ID capped off
Room / Area
Description
Notes
Sibmx of spillage and door seals gone
Room / Area
Description
Notes
Gas fitting plugged off and tested
ZENITH MECHANICAL SERVICES
Report Number | 21-8074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes