## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Ferndene
19 Lyndhurst Road
Benton
NE12 9NT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8119
DATE OF REPORT: 28/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8119
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Ferndene
19 Lyndhurst Road
Benton
NE12 9NT
Carried Out On | 28/05/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Mr Thrumble has called to report ther boiler is not working again - ongoing issue error code E111 - Mr Thrumble suffers pain when the heating is not on - Boiler Worcester combi 24 cdi RDF- this has been attended to a lot of times now please could you investigate- You will need to contact the office Chipchase house(Office) and take a lateral flow test before entering and access. Please leave a vm on the landline telephone 01912159454 beore attending.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8119
SECTION 3: Report
Appliance is a potterton promax combi 28HE. Customer reports constant drop in pressure across the system. PRV and Expansion vessel changed on a prior visit, checked recharge and operation of vessel, checked that prv was not discharging, Checked all radiators for leaks. Inspected pipework where possible as pipes enclosed within boxing. Damp and mould growth found within boxing in kitchen indicating pressure loss is down to a system leak. See Images. Advise/ recommend treatment of system with 1litre of a suitable leak sealing solution Customer has requested advance notice of visit.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8119
SECTION 4: Photos
Room / Area
Kitchen
Description
Mould growth within boxing containing heating pipes.
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8119
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8119
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8119
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8119
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes