## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-8120
DATE OF REPORT: 03/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8120
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 7 Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
Carried Out On | 03/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Bathroom radiator at no 7 Burn Promenade has come away from the wall and is dripping

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8120
SECTION 3: Report
Attend site 0900 for radiator in bathroom hanging off the wall Tennant not able to give access to flat until 0930 as getting ready when I arrived Once access available find the radiator not connected at all to pipework and all brackets removed and holes filled, re fit all brackets and re hang radiator connect all pipework and fill and vent radiator test all ok for leaks and operation ok. Offsite 1100 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8120
SECTION 4: Photos
Room / Area
Description
Notes
Radiator removed by others
Room / Area
Description
Notes
Refit brackets and radiator fil, and vent and check for leaks.
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8120
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8120
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8120
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8120
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes