## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
49 Mackintosh Court
Gilesgate
Durham
DH1 1PZ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-8159
DATE OF REPORT: 29/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8159
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 49 Mackintosh Court
Gilesgate
Durham
DH1 1PZ
Carried Out On | 29/05/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
No Heating/HW

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8159
SECTION 3: Report
Boiler is a potterton promax 24he, e119 fault System pressure sitting just below 1 bar, no leaks and expansion vessel fine. Topped up to 1.5 bar and reset.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8159
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8159
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8159
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8159
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8159
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes