## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 The Lawns
Middlesbrough
TS3 4FA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8162
DATE OF REPORT: 18/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8162
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 6 The Lawns
Middlesbrough
TS3 4FA
Carried Out On | 31/05/2021, 18/06/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
No heating/hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8162
SECTION 3: Report
Heating working fine, boiler is an ideal logic heat only. DHW two port zone valve not opening, valve free to move. New 22mm 2 port valve required. Replaced 2 port zone valve on hot water primary pipe work tested and found wasn’t working so removed wiring center stat covers and boiler wiring and found that the whole system is incorrectly wired . Water will only come on when heating is on. The cylinder stat is missing all its switching cables. Have resealed all electrical covers and left customer using the immersion

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8162
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes