## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Cragside Court
Lobley Hill
Gateshead
NE11 0AW
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-8163
DATE OF REPORT: 21/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8163
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Cragside Court
Lobley Hill
Gateshead
NE11 0AW
Carried Out On | 08/06/2021, 21/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
6 Month Mechanical Check TD July 2021

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8163
SECTION 3: Report
Attend site 0730 to carry out 6 month mechanical check See pic of worksheet Dhw boiler no 2 needs a hot surface igniter Dhw expansion vessel 28mm isolated valve needed Offsite 1130 21/07/21 0800 Attend site isolate water and drain down dhw circuit as theres no local isolation once drained instal a 28mm isolation valve and strip out the expansion vessel and replacecwith new. Fill and vent dhw circuit test for leaks all ok Fir new hot surface igniter on boiler and commission and test all ok . Clear site Parts used 1 x 24 ltr expressed 1 x hot surface igniter 1 x 28mm quarter turn isolation valve Offsite 1015 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8163
SECTION 4: Photos
Room / Area
Description
Notes
Check sheet
Room / Area
Description
Notes
Calorifier check sheet
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8163
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8163
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8163
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8163
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes