## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Renwick House
Abbey Meadows
Kirkhill
NE61 2BN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8166
DATE OF REPORT: 08/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8166
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 12 Renwick House
Abbey Meadows
Kirkhill
NE61 2BN
Carried Out On | 01/06/2021, 08/06/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Kitchen HW tap is running - to replace hot water isolation and install isolation valve to hot and cold taps in kitchen

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8166
SECTION 3: Report
site requires installation of additional isolation valves to repair the dripping tap within the kitchen. the hot and cold feeds into the flats are 28mm copper. The kitchen sink is fed by 15mm copper pipe with flexible connectors. pipework to be drained to allow repairs to be carried out. site to be notified of possivle disruption please allow 3 hours for works. items required 15mm flexible connectors x 2 28mm isolation valves x 2 one pair of quarter turn kitchen sink taps Job all completed and taps changed. Had to isolate whole building as existing isolation was not working

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8166
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8166
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8166
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8166
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8166
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes