## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Aged Miners Homes
Stella
Blaydon
NE21 4NG
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-8169
DATE OF REPORT: 01/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8169
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 1 Aged Miners Homes
Stella
Blaydon
NE21 4NG
Carried Out On | 01/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
no heating or hot water. iss sh

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8169
SECTION 3: Report
Attend site 1530 for no heating or hot water Carry out tests find time clock is faulty travel to wholesalers to collect new return to site. Alter wiring as old time clock is no longer made wire up the time clock and commission and test all ok , show tennant how to use time clock as new one is digital, tennant asked me to set times up all working when I left site. Parts used 1 partcenter twin channel time clock Offsite 1730 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8169
SECTION 4: Photos
Room / Area
Description
Notes
Old mechanical time clock
Room / Area
Description
Notes
New time clock , heating and hot water now working
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8169
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8169
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8169
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8169
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes