## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-30 Stanley Court
Stanley
County Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8170
DATE OF REPORT: 01/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8170
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-30 Stanley Court
Stanley
County Durham
DH9 6HD
Carried Out On | 01/06/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Pipe leaking in boiler room opposite boiler 2

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8170
SECTION 3: Report
Due to the primary pipe work cooling down all the expansion bellows had contracted causing the bolts to become loose. So cleaned and remade flange faces. I also noticed a 3” crane valve was starting to deteriorate and leak from the shaft I have tried to fix that the best I could

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8170
SECTION 4: Photos
Room / Area
Plant room
Description
Primary pipe work bellows
Notes
Room / Area
As above
Description
Notes
Room / Area
As above
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8170
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes