## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Ferndene
19 Lyndhurst Road
Benton
NE12 9NT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8174
DATE OF REPORT: 02/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8174
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Ferndene
19 Lyndhurst Road
Benton
NE12 9NT
Carried Out On | 02/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating or hot water E111 - Boiler is not working again - ongoing issue error code E111. Last attended 28/05 and you have recommended a replacement boiler this has already been passed to Repairs team leader for consideration ---- ---- - You will need to contact the office Chipchase house(Office) and take a lateral flow test before entering and access. Please leave a vm on the landline telephone 01912159454 beore attending. ---- ---- No issues with Covid

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8174
SECTION 3: Report
Attend site 1245 but had to wait 45 mins to have covid test and get results. Site saying its fault e111 this is isn't its e133 low pressure. Check all pipework throughout the property in the loft and no leaks found , take off all lst radiator covers find the living room radiator trv leaking so pick up new trv and leak sealer from wholesalers. Return to site drain down heating system and change out the leaking trv and fill system with leak sealer , replace the 1/2" radiator vent , fill system and vent all radiators test heating and run up to temp for 30 mins to circulate leaking sealer throughout. Left site all working Parts used 1 no leak sealer 1 no myson trv 1 no 1/2" radiator vent Offsite 1645 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8174
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8174
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8174
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8174
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8174
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes