## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
53 Aged Miners Homes
Marsden Road
South Sheilds
NE34 6RJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-8175
DATE OF REPORT: 25/10/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8175
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 53 Aged Miners Homes
Marsden Road
South Sheilds
NE34 6RJ
Carried Out On | 04/06/2021
Survey Completed By | David Hunter
SECTION 2: Introduction
Resident has reported that since the gas service on 26.4.21 the glass keeps falling out of the gas fire (Robinson Willey Firecharm)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8175
SECTION 3: Report
Attended site to to check fire after service visit due to reports of the glass falling out. On attendance to site it was found that the decorative metal cover which clips in next to the glass was loose by one clip. The fire was fully checked over for correct operation and found to be operating correctly, the metal decorative cover was secured in place before leaving site. No further action is required at this property.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8175
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8175
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8175
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8175
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8175
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes