## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rooms within House, Strathmore House
163 Strathmore Crescent
Newcastle upon Tyne
NE4 8UA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8177
DATE OF REPORT: 02/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8177
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Rooms within House, Strathmore House
163 Strathmore Crescent
Newcastle upon Tyne
NE4 8UA
Carried Out On | 02/06/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Commercial Boiler Repairs ---- ---- Boiler cupbard will be left open as only staffed till 2pm ---- ---- No COVID issues

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8177
SECTION 3: Report
Boilers were in lock out on the both circuits got the boilers to work on the heating circuit. I then traced an electrical fault on the controls supply. Removed a dry cable and all working now

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes