## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Whinstone Lodge
Front Street
Whitley Bay
NE25 8DJ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-8179
DATE OF REPORT: 22/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8179
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 8 Whinstone Lodge
Front Street
Whitley Bay
NE25 8DJ
Carried Out On | 04/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Underfloor heating still coming through despite being turned down. Leak on manifold

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8179
SECTION 3: Report
0191 252 7560 Follow on works to replace five underfloor heating cartridges. Attend site 1500 for leaking under floor heating cartridges Gain access to flat and under floor heating cartridges find all 5 zones leaking and no 2 actuator corroded off the leaking valve which has tripped that zone. Isolate and drain down heating manifold's and strip down, take out all 5 cartridges and clean all mating surfaces, fit new cartridges and then fill and vent manifold's, install 4 x existing actuators and change out no 2 actuator for new . Commission all components and test operation all working now and no leaks Offsite 1615 complete Parts used 5 no giacomini underfloor heating cartridges van stock £80 1 no giacomini 230v actuator van stock £25

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8179
SECTION 4: Photos
Room / Area
Description
Notes
Leaking cartridges x 5
Room / Area
Description
Notes
5 x cartridges replaced
Room / Area
Description
Notes
No 2 actuator damaged by water leakage
ZENITH MECHANICAL SERVICES
Report Number | 21-8179
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8179
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8179
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8179
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes