## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-30 Stanley Court
Stanley
County Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8189
DATE OF REPORT: 29/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8189
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-30 Stanley Court
Stanley
County Durham
DH9 6HD
Carried Out On | 03/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Strong smell of gas reported from the metre in the cleaners' cupboard.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8189
SECTION 3: Report
Attend site 1200 for a smell of gas in cleaners cuboard Carry out tests and find main ECV leaking (3" wheel head type) contact northern gas networks who in formed me they would be on site within 2 hours and to wait on site as the responsible person. When northern gas networks engineer allend they informed me that they would need to repack the gand on the gate valve and I'd need to carry out a test once the had completed the repairs. Once completed I carried out a tightness test which passed and relite the heating and hot water boilers , waited until things got up to temp , no issues Offsite 1830 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes