## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-28 Southfields House
Heaton Road
Newcastle upon Tyne
NE6 1SB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8210
DATE OF REPORT: 28/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8210
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-28 Southfields House
Heaton Road
Newcastle upon Tyne
NE6 1SB
Carried Out On | 04/06/2021, 28/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Commercial Boiler Repairs

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8210
SECTION 3: Report
Onsite 0915 no access until 1000 as no manager on site and no instructions for access. Once on site and in meter room find elson corale hot water heater not working both emmersions with out power, check the off peak element and find its off on over heat re set and check the resistance of the element all ok but find it is badly corroded and needs to be replaced. Investigate why the boost emmerson isn't working , find it has no supply to the fuse spur so had to check through out the building to find the breaker which feeds this ( located in the cupboard next to the communal kitchen on the ground floor) reset the breaker and go back to the water heater and check that the emmerson is on, I tested tha AMPS it was pulling and found it to be 11.7 AMOS which is within its acceptable range so left the heater on the 24 hour emmersion , I have ordered 2 new emmersions and will come to drain down and change these once they arrive into the wholesalers, possible 5-7 days Offsite 1130 fow 28/06/21 pick up parts and travel to site Isolate water and drain down thermal storage cylinder and strip out 2 x emersion elements replace with elson units , replace seal on drain off and fill cylinder . Wire emersion up and switch on wait until heater up to temp all ok Offsite 1330 complete Parts used 2 no elson 11" emersion heaters 1 no 1/2" drain off washers

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8210
SECTION 4: Photos
Room / Area
Description
Notes
2 faulty emersion heaters stripped down and replaced
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes