## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
13-35 Athlone Court
Blyth
NE24 1EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8211
DATE OF REPORT: 07/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8211
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
13-35 Athlone Court
Blyth
NE24 1EW
Carried Out On | 07/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Install isolation valve on gents cold water tap. once this is done job can be booked back in to replace taps

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8211
SECTION 3: Report
Attend site 1430 to install an isolation valve onto the cold water supply feeding the gents cold water tap. On arrival carry out tests find that this tap is fed from the tank and there's no access to the isolation valve so I travelled to the wholesalers to collect some freeze spray to enable me to freexpze the pipework so pipework could be cut and an isolation valve fitted to let the karbon plumber to replace the taps Parts used 1 no pipe freeze 1 no 15mm isolation valve van stock £10 Offsite 1545 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8211
SECTION 4: Photos
Room / Area
Description
Notes
Pipe work frozen so isolation valve can be installed
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8211
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes