## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 David Guy Court
Delves Lane
Consett
DH8 7EX
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-8215
DATE OF REPORT: 04/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8215
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 3 David Guy Court
Delves Lane
Consett
DH8 7EX
Carried Out On | 04/06/2021
Survey Completed By | Adam McCallum
SECTION 2: Introduction
overflow from kitchen/ backroom running iss gr

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8215
SECTION 3: Report
Boiler pressure was to at 3 bar so took some water out of the system which stopped the leak. Put heating on and watched for pressure going back up to high seemed to be holding steady told tenant if it starts to leak check the gauge and if its back in the red to call in again and engineer may have to come and replace expansion vessel .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes