## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carville Grange
Carville Road
Wallsend
NE28 6DX
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-8219
DATE OF REPORT: 06/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8219
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Carville Grange
Carville Road
Wallsend
NE28 6DX
Carried Out On | 04/06/2021, 15/06/2021, 25/06/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Boiler number 3 keeps tripping. Reset several times but continues to trip.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8219
SECTION 3: Report
Attend site for boiler no 2 not resetting , Carry out tests and find its the spark generator faulty, ring around all wholesalers but no parts available so I've had to order (fleet f125v spark generator) from wolsley in Baker this park could take 3 working days to arrive in stock , will return to site once parts are in stock. Fow to supply and install spark generator 25/06/2021 All boilers we’re working when arrived on site carried out full diagnostic on lmu and found no issues with boiler 3. As number 2 was isolated carried out checks to this and found gas valve not working ordered part will ring with update as coming from manufacturers Fitted replacement gas valve to Hamworthy fleet 125 tested all ok set hi and lo to 9% co2

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8219
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8219
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8219
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8219
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8219
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes