## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Teal Close
Longbenton
Newcastle
NE7 7TG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8224
DATE OF REPORT: 07/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8224
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Teal Close
Longbenton
Newcastle
NE7 7TG
Carried Out On | 07/06/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Appliance is still in operation but requires new flue turret and sample points. Due to age and poor condition of the rest of the appliance it makes more sense to renew. ---- ----

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8224
SECTION 3: Report
25kw combi boiler in Horizontal flue kit Piper work is accessible Gas meter directly below boiler Condensate will need re drilled Scale refunded and magna clean required

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8224
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8224
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8224
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8224
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8224
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes