## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Various Addresses
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8251
DATE OF REPORT: 14/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8251
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Various Addresses
Carried Out On | 12/07/2021, 13/07/2021, 14/07/2021, 15/07/2021, 16/07/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Total Mobile

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8251
SECTION 3: Report
Replaced expansion tank and prv. Removed filter from return valve as when tried to remove to clean corrosion caused it to snap. Pressure holding and heating circulating much better than previously.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8251
SECTION 4: Photos
Room / Area
Kitchen
Description
New expansion and prv
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8251
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes