## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
67 Old Custom House - Flat 5
Borough Road
North Shields
NE29 6LH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8255
DATE OF REPORT: 07/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8255
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 67 Old Custom House - Flat 5
Borough Road
North Shields
NE29 6LH
Carried Out On | 07/06/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
No hot water flat 5 - hasn't spoken to any neighbours so doesn't know if anyone else affected. working ok yeaterday. heating fine.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8255
SECTION 3: Report
After speaking with tennant found it was the whole building that had no hot water. Went to the plant room to carry out further investigation. Found the hot water calorifiers were cold. Carried out electrical tests and found the 2 contactors feeding the 2 hot water primary pumps had tripped after further investigation found both pumps were leaking and one badly and going on to electrics causing a circuit board to blow managed to get one pump to work temporarily but the whole twin set requires replacement

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8255
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8255
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8255
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8255
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8255
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes