## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
37 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8257
DATE OF REPORT: 07/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8257
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 37 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 07/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Wet room replacement is taking place but have been advised that a radiator needs to be isolated and the hot water gate valve needs to be replaced. Please attend asap.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8257
SECTION 3: Report
Attend site 1130 for in isolation for the towel rail to enable removal Gain access to flat find 28mm gate valve passing and leaking when moved. Turn water off to dhw system, and drain down dhw strip out old leaking valve and replace with new 28mm 1/4 turn isolation valve site was then filled and hot water taps vented where possible some flats we got no answer. Hot water now isolated to flat so contractor can carry out the new bathroom install Parts used 1 no 28mm 1/4 turn isolation valve from vanstock £ 45 van stock Offsite 1400 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8257
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes