## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Holborn House
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8273
DATE OF REPORT: 01/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8273
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Holborn House
Commercial Road
South Shields
NE33 1EA
Carried Out On | 28/06/2021, 01/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
bedroom radiator wont turn off our plumber has attended to look at the radiator as the tenant reported it wont turn off. He has isolated the radiator but asked for a commercial engineer to attend as although the stat shows off the radiator is still boiling hot. He suggested possible fault with the zone valve

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8273
SECTION 3: Report
Attend site1530 for radiator not turning off. Carry out checks find zone valve not closing when powered down. Test find spring return not working new valve needed have to order as I haven't one on the van. Took head off and manually close to turn heating off. Tenant wants mr to return to site Thursday last job to replace the valve, Offsite 1615 fow Attend site 01/07/21 1500 Supply and fit a 22mm danfos 2 port valve that supplies the bathroom and bedroom heating, once installed commissioned and tested Parts used 1 no 22mm danfoss 2 port valve Offsite 1630 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8273
SECTION 4: Photos
Room / Area
Description
Notes
New 2 port and actuator needed
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8273
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8273
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8273
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8273
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes