## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Aldwych House
Commerical Road
South Shields
NE33 1UE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8274
DATE OF REPORT: 10/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8274
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 19 Aldwych House
Commerical Road
South Shields
NE33 1UE
Carried Out On | 10/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
4 x thermostatic radiator valves required - pipework all screwed steel.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8274
SECTION 3: Report
Attend site 0800 to replace 4 x trv valves Gain access to flat and find that the valves are danfoss 1/2" steel trv's Travel to crosslings to collect parts and return to site , once on site drain heating to flat down and strip out the trvs (2 new needed as the pipework is steel and there's no play on the valves so we had to spring the pipes to get valves to fit chang all 5 of the trvs as all are no working correctly On removal of the trvs the wall in the lounge bedroom and hall way were damaged due to the trv catching the wall whilst spinning out. Iv taken pics and attached to this job report and requested adan to attend to make good Parts used 5 no danfoss 1/2" trvs Offsite 1030 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8274
SECTION 4: Photos
Room / Area
Description
Notes
Marks left by spinning the trvs out
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8274
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8274
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8274
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8274
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes