## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Halton Close
Stocksfield
Northumberland
NE43 7ET
CARRIED OUT ON BEHALF OF
Mr John Leeson
REPORT NUMBER: 21-8287
DATE OF REPORT: 07/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8287
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Mr John Leeson
Address | 4 Halton Close
Stocksfield
Northumberland
NE43 7ET
Site Address | 4 Halton Close
Stocksfield
Northumberland
NE43 7ET
Carried Out On | 07/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Check the flue on the boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8287
SECTION 3: Report
Attend site at 1715 find vertical flue terminal has been damaged and the internal has come away from the external try to line it up and carry out a flue integrity test find only 20.1% o2 and 1ppm co in fresh air side of flue so left off and need to fit new flue see pictures attached Partx needed 2 x 90° elbows 1 x vertical flue terminal Offsite 1830

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8287
SECTION 4: Photos
Room / Area
Description
Notes
Boiler model
Room / Area
Description
Notes
Damaged terminal
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8287
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8287
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8287
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8287
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes