## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Springfield Road
Ludworth
Durham
DH6 1NY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8288
DATE OF REPORT: 08/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8288
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 24 Springfield Road
Ludworth
Durham
DH6 1NY
Carried Out On | 08/06/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Replacement boiler required

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8288
SECTION 3: Report
Boiler in currently is a ideal classic se12 (heat only) Kitchen sink is right next to boiler to take hot and colds from there for a conversion Tank in loft keeps overflowing so Job is more pressing. Horizontal flue kit required Cylinder in bathroom cupboard is on y plan system. Scale reducer will fit under boiler and magna clean will go in cylinder cupboard.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8288
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes