## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
John Buddle Work Village
Buddle Road
Newcastle Upon Tyne
NE4 8AW
CARRIED OUT ON BEHALF OF
John Buddle Work Village
REPORT NUMBER: 21-8298
DATE OF REPORT: 09/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8298
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | John Buddle Work Village
Address | Buddle Road
Newcastle Upon Tyne
NE4 8AW
Site Address | John Buddle Work Village
Buddle Road
Newcastle Upon Tyne
NE4 8AW
Carried Out On | 08/06/2021 01/01/1970 09/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Check water heater in cleaners cupboard as we currently have no hot water supply in the cupboard or coffee room which is usually caused by a fuse fault on the water heater.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8298
SECTION 3: Report
Attend site 1100 For no hot water carry out tests find wiring in the junction box burnt out , remake cable and test all ok . Wait until water up to temp site now has hot water. Parts used 1mtr 2.5mm 3 core cable van stock Offsite 1230 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8298
SECTION 4: Photos
Room / Area
Description
Notes
Damaged cables in junction box all replaced
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8298
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8298
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8298
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8298
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes