## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 David Guy Court
Consett
Durham
Dh8 7ex
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-8339
DATE OF REPORT: 09/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8339
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 3 David Guy Court
Consett
Durham
Dh8 7ex
Carried Out On | 09/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No hearing/hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8339
SECTION 3: Report
Attend site for no heating or hot water 1830 Carry out tests check expansion vessel pressure is at 1.5 bar and saftey valve not passing, all ok visually check all pipework to see if any leaks all ok. Top boiler up to 1.5 bar and test all working, tennant now has hot water and heating Offsite 1900 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8339
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes