## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
27 Renwick House
Abbey Meadows
Kirkhill
NE61 2BN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8340
DATE OF REPORT: 10/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8340
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 27 Renwick House
Abbey Meadows
Kirkhill
NE61 2BN
Carried Out On | 10/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
3 way valve for the heating is faulty & buzzing - Following call out for buzzing socket it is actually a 3 way valve for the heating that is faulty and making a loud buzzing noise.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8340
SECTION 3: Report
Attend site 1300 Gain access to flat find 22mm honeywell 2 port valve noisey take head off and find spindal siezed, isolated and drain down strip out and fit new , wire new actuator head in and commission and test all ok Parts used 1 no 22mm honeywell 2 port valve vanstock £70 Offsite 1445 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8340
SECTION 4: Photos
Room / Area
Description
Notes
New 2 port valve fitted commission and test all ok
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8340
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes