## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Moorcroft
Bowman drive
Dudley
Ne23 7ff
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8345
DATE OF REPORT: 10/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8345
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Moorcroft
Bowman drive
Dudley
Ne23 7ff
Carried Out On | 10/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating/hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8345
SECTION 3: Report
Attend site 1845 for no hot water in flat 1 find all ok , check plantroom find no1 primary pump not working carry out tests find its been isolated due to making a loud squeeling noise, leave isolated and run on primary pump no 2 all ok , needs new primary pump. Pump is a Grudfos magna 50-120f Offsite 1930 new pump needed

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8345
SECTION 4: Photos
Room / Area
Description
Notes
New pump needed
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes