## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
27 Athlone Court
Blyth
Ne24 1ew
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8346
DATE OF REPORT: 10/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8346
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 27 Athlone Court
Blyth
Ne24 1ew
Carried Out On | 10/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating/hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8346
SECTION 3: Report
Attend site 1930 for no heating Gain access to room 27 and find all radiators are off, gain access to plantroom and find heating pump off, turn on and wait until radiators up to temperature. All ok Offsite 2015 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes