## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Derwentdale Court
Blackhill
Consett
DH8 8PY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8347
DATE OF REPORT: 13/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8347
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Derwentdale Court
Blackhill
Consett
DH8 8PY
Carried Out On | 13/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Turn off water and add isolation valve as there is currently a blank on due to the current isolation valve has blown off in the communal kitchen where the hot water is now isolated due to this. ---- Reported by Matt Murphy who attended.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8347
SECTION 3: Report
Attend sitec1000 Find others have cappedcthe hot water pipework to the communal kitchen sink , there's no isolation before this so the dhw hat to be drained so the fitting could be removed, once removed Find no insert fitted to the hep pipework so fit an insert and a new 15 1/4turn isolation valve then re fill the dhw system and vent all dhw taps where avaliable Parts used 1 x 15mm isolation valve 1 x 15mm hep pipe insert Offsite 1200 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8347
SECTION 4: Photos
Room / Area
Description
Notes
Capped off pipework
Room / Area
Description
Notes
New isolation valve fitted
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8347
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8347
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8347
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8347
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes