## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Cragside Court
Off Cragside Gardens
Lobley Hill
NE11 0AW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8348
DATE OF REPORT: 16/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8348
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Cragside Court
Off Cragside Gardens
Lobley Hill
NE11 0AW
Carried Out On | 16/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Water too hot in bathroom and kitchen please remedy - Reported that flat 23 Mrs Telford has issues with hot water - her water in her bathroom and Kitchen is absolutely Scalding. Telephone 0191 414 3978

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8348
SECTION 3: Report
Attend site 1200 for water temp 2 hot checc plant room measure temperature of water fimd 60° this is required for legionella prevention. Can only advise fitting 2 x 15mm tmv 1 in bathroom under the sink 1 under the kitchen sink. These works would take 4 hrs labour 2 x tmvs £30 each 15 mm pipe and fittings £65 Offsite 1300 fow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes