## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Brownsea Place
Millway 1
Sheriff Hill
NE9 5PZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8373
DATE OF REPORT: 14/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8373
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Brownsea Place
Millway 1
Sheriff Hill
NE9 5PZ
Carried Out On | 14/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
As advised by Wellbeing & Compliance Assistant Andew As advised by Wellbeing & Compliance Assistant Andrew McGrevy - heating is off but hot water is ok. ---- 01914773797 ---- Engineer was called OOH over the weekend but was unable to gain access as he wasn't aware of the key safe code

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8373
SECTION 3: Report
Attend site 1500 for no heating Find controller on auto and heating been held off on outside air temperature, switch heating on to over ride and all working now on the room temperature of 24.5° wait until all up to temp all ok. Offsite 1545 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8373
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8373
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8373
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8373
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8373
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes