## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Cragside Court
Off Cragside Gardens
Lobley Hill
NE11 0AW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8417
DATE OF REPORT: 16/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8417
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Cragside Court
Off Cragside Gardens
Lobley Hill
NE11 0AW
Carried Out On | 15/06/2021 16/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
The only radiator working is in the lounge. Flat 14 - Bathroom. Bedroom and Kitchen does not work. Mrs Snow - 07881755063. Please contact resident for access. reported by Lorraina Czajka 07889810296 Independent Living Wellbeing & Compliance Assistant Standard Callout for Commerical Boilers

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8417
SECTION 3: Report
Attend site 1000 for radiators not working. Investigate find heating off to whole building . Interigate bms system and find once outside air temp gets to 18° it shuts off the heating to the whole building, manually turn on heating and gain access to flat 14 and check all radiators are working. Find living room radiator working fine kitchen radiator turned down , turn this up and all ok, the bathroom and bedroom radiator trvs had the pins stuck in try to free off but find completely stuck, so isolate the heating to the flat and drain down. Strip out the trvs and replace with danfoss trv from van stock , fill and vent check for leaks all ok. Explain to the tennant that the heating will only be on when the out side air temp is below 18° Parts used 2 no danfosx 1/2" trv from van stock £25 Offsite 1215complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes